## Sheet1
序号 | 名称 | 描述 | 单位 | 工程量 | 备注
软密封球阀均采用防火防静电结构，球阀均为实心球
117 | 截止阀,DN50,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr/STL | 个 | 1 | J41Y-16C DN50 |  | 球阀种类 | 7种
118 | 截止阀,DN80,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr/STL | 个 | 3 | J41Y-16C DN80 |  | 截止阀种类 | 5种
119 | 截止阀,DN150,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr/STL | 个 | 1 | J41Y-16C DN150 |  | 止回阀 | 16种
120 | 截止阀,DN25,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr/STL | 个 | 32 | J41Y-16C DN25 |  | 蝶阀种类 | 4种
121 | 球阀,DN20,PN16,RF,Floating Ball | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 10 | Q41F-16C DN20 |  | 闸阀 | 2种
122 | 球阀,DN25,PN16,RF,Floating Ball | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 5 | Q41F-16C DN25 |  | Y型过滤器 | 2种
123 | 止回阀,DN350,PN16,RF,Dual Plate, Wafer,双板止回阀应水平安装，铰链销垂直，或垂直安装，流向向上 | JB/T8937,阀体:WCB 阀芯:13Cr | 个 | 5 | H76H-16C DN350
124 | 蝶阀,DN350,PN16,RF,Wafer, Gear | GB/T12238,阀体:WCB 阀芯:13Cr/EPDM | 个 | 10 | D371X-16C DN350
397 | 闸阀,DN50,PN16,RF,BB, OS&Y | GB/T12234,阀体:WCB 阀芯:13Cr/STL | 个 | 7 | Z41Y-16C DN50
398 | 闸阀,DN65,PN16,RF,BB, OS&Y | GB/T12234,阀体:WCB 阀芯:13Cr/STL | 个 | 8 | Z41Y-16C DN65
399 | 闸阀,DN200,PN16,RF,BB, OS&Y | GB/T12234,阀体:WCB 阀芯:13Cr/STL | 个 | 1 | Z41Y-16C DN200
400 | 闸阀,DN20,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr/STL | 个 | 56 | Z41Y-16C DN20
401 | 闸阀,DN25,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr/STL | 个 | 1 | Z41Y-16C DN25
402 | 闸阀,DN32,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr/STL | 个 | 1 | Z41Y-16C DN32
403 | 截止阀,DN50,PN16,RF,BB, OS&Y | GB/T12235,阀体:CF8 阀芯:304 | 个 | 1 | J41W-16P DN50
404 | 截止阀,DN65,PN16,RF,BB, OS&Y,低泄漏性阀杆填料 | GB/T12235,阀体:CF8 阀芯:304/STL | 个 | 2 | J41Y-16P DN65
405 | 截止阀,DN50,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr | 个 | 34 | J41H-16C DN50
406 | 截止阀,DN65,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr | 个 | 12 | J41H-16C DN65
407 | 截止阀,DN125,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr | 个 | 4 | J41H-16C DN125
408 | 截止阀,DN150,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr | 个 | 4 | J41H-16C DN150
409 | 截止阀,DN50,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr/STL | 个 | 92 | J41Y-16C DN50
410 | 截止阀,DN50,PN16,RF,BB, OS&Y,低泄漏性阀杆填料 | GB/T12235,阀体:WCB 阀芯:13Cr/STL | 个 | 2 | J41Y-16C DN50
411 | 截止阀,DN80,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr/STL | 个 | 12 | J41Y-16C DN80
412 | 截止阀,DN150,PN16,RF,BB, OS&Y,低泄漏性阀杆填料 | GB/T12235,阀体:WCB 阀芯:13Cr/STL | 个 | 2 | J41Y-16C DN150
413 | 截止阀,DN25,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr | 个 | 30 | J41H-16C DN25
414 | 截止阀,DN32,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr | 个 | 10 | J41H-16C DN32
415 | 截止阀,DN20,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr/STL | 个 | 64 | J41Y-16C DN20
416 | 截止阀,DN25,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr/STL | 个 | 44 | J41Y-16C DN25
417 | 截止阀,DN32,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr/STL | 个 | 88 | J41Y-16C DN32
418 | 截止阀,DN40,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr/STL | 个 | 8 | J41Y-16C DN40
419 | 球阀,DN20,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:CF3M 阀芯:316L/PTFE | 个 | 2 | Q41F-16RL DN20
420 | 球阀,DN25,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:CF3M 阀芯:316L/PTFE | 个 | 1 | Q41F-16RL DN25
421 | 球阀,DN80,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:CF3M 阀芯:316L/PTFE | 个 | 4 | Q41F-16RL DN80
422 | 球阀,DN20,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 63 | Q41F-16P DN20
423 | 球阀加长阀杆,DN20,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 15 | Q41F-16P DN20
424 | 球阀加长阀杆,DN25,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 24 | Q41F-16P DN25
425 | 球阀加长阀杆,DN50,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 7 | Q41F-16P DN50
426 | 球阀加长阀杆,DN65,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 2 | Q41F-16P DN65
427 | 球阀加长阀杆,DN80,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 1 | Q41F-16P DN80
428 | 球阀加长阀杆,DN100,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 1 | Q41F-16P DN100
429 | 球阀,DN20,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 18 | Q41Y-16P DN20
430 | 球阀加长阀杆,DN20,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 30 | Q41Y-16P DN20
431 | 球阀,DN25,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 21 | Q41Y-16P DN25
432 | 球阀加长阀杆,DN25,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 58 | Q41Y-16P DN25
433 | 球阀加长阀杆,DN32,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 6 | Q41Y-16P DN32
434 | 球阀,DN50,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 6 | Q41Y-16P DN50
435 | 球阀加长阀杆,DN50,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 38 | Q41Y-16P DN50
436 | 球阀加长阀杆,DN65,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 50 | Q41Y-16P DN65
437 | 球阀,DN80,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 2 | Q41Y-16P DN80
438 | 球阀加长阀杆,DN80,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 10 | Q41Y-16P DN80
439 | 球阀,DN100,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 4 | Q41Y-16P DN100
440 | 球阀加长阀杆,DN100,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 37 | Q41Y-16P DN100
441 | 球阀,DN20,PN16,RF,Floating Ball | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 32 | Q41F-16C DN20
442 | 球阀,DN20,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 79 | Q41F-16C DN20
443 | 球阀加长阀杆,DN20,PN16,RF,Floating Ball | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 8 | Q41F-16C DN20
444 | 球阀加长阀杆,DN20,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 49 | Q41F-16C DN20
445 | 球阀,DN25,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 151 | Q41F-16C DN25
446 | 球阀加长阀杆,DN25,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 30 | Q41F-16C DN32
447 | 球阀,DN32,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 20 | Q41F-16C DN32
448 | 球阀加长阀杆,DN32,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 6 | Q41F-16C DN32
449 | 球阀,DN40,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 2 | Q41F-16C DN40
450 | 球阀,DN50,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 63 | Q41F-16C DN50
451 | 球阀加长阀杆,DN50,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 40 | Q41F-16C DN50
452 | 球阀,DN65,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 32 | Q41F-16C DN65
453 | 球阀加长阀杆,DN65,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 46 | Q41F-16C DN65
454 | 球阀,DN80,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 8 | Q41F-16C DN80
455 | 球阀加长阀杆,DN80,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 48 | Q41F-16C DN80
456 | 球阀,DN100,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 5 | Q41F-16C DN100
457 | 球阀加长阀杆,DN100,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 8 | Q41F-16C DN100
458 | 球阀,DN20,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:WCB 阀芯:304/STL | 个 | 4 | Q41Y-16C DN20
459 | 球阀加长阀杆,DN20,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:WCB 阀芯:304/STL | 个 | 36 | Q41Y-16C DN20
460 | 球阀,DN25,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:WCB 阀芯:304/STL | 个 | 8 | Q41Y-16C DN25
461 | 球阀加长阀杆,DN25,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:WCB 阀芯:304/STL | 个 | 21 | Q41Y-16C DN25
462 | 球阀,DN50,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:WCB 阀芯:304/STL | 个 | 4 | Q41Y-16C DN50
463 | 球阀加长阀杆,DN50,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:WCB 阀芯:304/STL | 个 | 10 | Q41Y-16C DN50
464 | 球阀加长阀杆,DN65,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:WCB 阀芯:304/STL | 个 | 34 | Q41Y-16C DN65
465 | 球阀,DN80,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:WCB 阀芯:304/STL | 个 | 4 | Q41Y-16C DN80
466 | 球阀加长阀杆,DN80,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:WCB 阀芯:304/STL | 个 | 24 | Q41Y-16C DN80
467 | 球阀加长阀杆,DN100,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:WCB 阀芯:304/STL | 个 | 10 | Q41Y-16C DN100
468 | 球阀,DN20,PN16,RF,Floating Ball, Lined,低泄漏性阀杆填料 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:CS + PTFE | 个 | 7 | Q41F46-16C DN20
469 | 球阀加长阀杆,DN20,PN16,RF,Floating Ball, Lined,低泄漏性阀杆填料 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:CS + PTFE | 个 | 8 | Q41F46-16C DN20
470 | 球阀,DN25,PN16,RF,Floating Ball, Lined,低泄漏性阀杆填料 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:CS + PTFE | 个 | 21 | Q41F46-16C DN25
471 | 球阀加长阀杆,DN25,PN16,RF,Floating Ball, Lined,低泄漏性阀杆填料 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:CS + PTFE | 个 | 86 | Q41F46-16C DN25
472 | 球阀,DN50,PN16,RF,Floating Ball, Lined,低泄漏性阀杆填料 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:CS + PTFE | 个 | 5 | Q41F46-16C DN50
473 | 球阀加长阀杆,DN50,PN16,RF,Floating Ball, Lined,低泄漏性阀杆填料 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:CS + PTFE | 个 | 107 | Q41F46-16C DN50
474 | 球阀,DN65,PN16,RF,Floating Ball, Lined,低泄漏性阀杆填料 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:CS + PTFE | 个 | 10 | Q41F46-16C DN65
475 | 球阀加长阀杆,DN65,PN16,RF,Floating Ball, Lined,低泄漏性阀杆填料 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:CS + PTFE | 个 | 27 | Q41F46-16C DN65
476 | 球阀,DN80,PN16,RF,Floating Ball, Lined,低泄漏性阀杆填料 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:CS + PTFE | 个 | 15 | Q41F46-16C DN80
477 | 球阀加长阀杆,DN80,PN16,RF,Floating Ball, Lined,低泄漏性阀杆填料 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:CS + PTFE | 个 | 12 | Q41F46-16C DN80
478 | 球阀,DN100,PN16,RF,Floating Ball, Lined,低泄漏性阀杆填料 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:CS + PTFE | 个 | 1 | Q41F46-16C DN100
479 | 球阀加长阀杆,DN100,PN16,RF,Floating Ball, Lined,低泄漏性阀杆填料 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:CS + PTFE | 个 | 64 | Q41F46-16C DN100
480 | 止回阀,DN80,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:CF3M 阀芯:316L/STL | 个 | 1 | H44Y-16RL DN80
481 | 止回阀,DN50,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:CF8 阀芯:304 | 个 | 2 | H44W-16P DN50
482 | 止回阀,DN50,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:CF8 阀芯:304/STL | 个 | 4 | H44Y-16P DN50
483 | 止回阀,DN65,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:CF8 阀芯:304/STL | 个 | 2 | H44Y-16P DN65
484 | 止回阀,DN50,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:WCB 阀芯:13Cr | 个 | 10 | H44H-16C DN50
485 | 止回阀,DN65,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:WCB 阀芯:13Cr | 个 | 22 | H44H-16C DN65
486 | 止回阀,DN80,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:WCB 阀芯:13Cr | 个 | 9 | H44H-16C DN80
487 | 止回阀,DN125,PN16,RF,Swing, Lined,旋启式止回阀应水平安装，阀板开启朝上，或垂直安装，流向向上 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:CS + PTFE | 个 | 8 | H44F46-16C DN125
488 | 止回阀,DN25,PN16,RF,Ball / Lift, Lined,球型升降式式止回阀应垂直安装，流向向上 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:PTFE | 个 | 6 | HQ41F46-16C DN25
489 | 止回阀,DN50,PN16,RF,Ball / Lift, Lined,球型升降式式止回阀应垂直安装，流向向上 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:PTFE | 个 | 19 | HQ41F46-16C DN50
490 | 止回阀,DN65,PN16,RF,Ball / Lift, Lined,球型升降式式止回阀应垂直安装，流向向上 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:PTFE | 个 | 9 | HQ41F46-16C DN65
491 | 止回阀,DN100,PN16,RF,Ball / Lift, Lined,球型升降式式止回阀应垂直安装，流向向上 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:PTFE | 个 | 6 | HQ41F46-16C DN100
492 | 止回阀,DN25,PN16,RF,Lift,升降式止回阀应水平安装，阀盖朝上 | JB/T7746,阀体:A105 阀芯:13Cr | 个 | 16 | H41H-16C DN25
493 | 止回阀,DN32,PN16,RF,Lift,升降式止回阀应水平安装，阀盖朝上 | JB/T7746,阀体:A105 阀芯:13Cr | 个 | 10 | H41H-16C DN32
494 | 止回阀,DN40,PN16,RF,Lift,升降式止回阀应水平安装，阀盖朝上 | JB/T7746,阀体:A105 阀芯:13Cr | 个 | 2 | H41H-16C DN40
495 | 止回阀,DN20,PN16,RF,Lift,升降式止回阀应水平安装，阀盖朝上 | JB/T7746,阀体:F304 阀芯:304/STL | 个 | 2 | H41Y-16P DN20
496 | 止回阀,DN25,PN16,RF,Lift,升降式止回阀应水平安装，阀盖朝上 | JB/T7746,阀体:F304 阀芯:304/STL | 个 | 2 | H41Y-16P DN25
497 | 止回阀,DN32,PN16,RF,Lift,升降式止回阀应水平安装，阀盖朝上 | JB/T7746,阀体:F304 阀芯:304/STL | 个 | 2 | H41Y-16P DN32
498 | 止回阀,DN250,PN16,RF,Dual Plate, Wafer,双板止回阀应水平安装，铰链销垂直，或垂直安装，流向向上 | JB/T8937,阀体:WCB 阀芯:13Cr/STL | 个 | 4 | H76Y-16C DN250
499 | 蝶阀,DN200,PN16,RF,triple offset, Gear,低泄漏性阀杆填料 | GB/T12238,阀体:CF8 阀芯:304/STL | 个 | 8 | D343Y-16P DN200
500 | 蝶阀,DN300,PN16,RF,triple offset, Gear,低泄漏性阀杆填料 | GB/T12238,阀体:CF8 阀芯:304/STL | 个 | 4 | D343Y-16P DN300
501 | 蝶阀,DN150,PN16,RF,Wafer, Gear | GB/T12238,阀体:WCB 阀芯:13Cr/EPDM | 个 | 8 | D371X-16C DN150
502 | 蝶阀,DN250,PN16,RF,Gear,低泄漏性阀杆填料 | GB/T12238,阀体:WCB 阀芯:13Cr/PTFE | 个 | 8 | D341F-16C DN250
503 | 蝶阀,DN300,PN16,RF,Gear,低泄漏性阀杆填料 | GB/T12238,阀体:WCB 阀芯:13Cr/PTFE | 个 | 4 | D341F-16C DN300
504 | 蝶阀,DN150,PN16,RF,triple offset, Gear,低泄漏性阀杆填料 | GB/T12238,阀体:WCB 阀芯:13Cr/STL | 个 | 2 | D343Y-16C DN150
505 | 蝶阀,DN200,PN16,RF,triple offset, Gear,低泄漏性阀杆填料 | GB/T12238,阀体:WCB 阀芯:13Cr/STL | 个 | 2 | D343Y-16C DN200
730 | 闸阀,DN150,PN16,RF,BB, OS&Y,低泄漏性阀杆填料 | GB/T12234,阀体:CF8 阀芯:304/STL | 个 | 18 | Z41Y-16P DN150
731 | 闸阀,DN50,PN16,RF,BB, OS&Y | GB/T12234,阀体:WCB 阀芯:13Cr/STL | 个 | 30 | Z41Y-16C DN50
732 | 闸阀,DN80,PN16,RF,BB, OS&Y | GB/T12234,阀体:WCB 阀芯:13Cr/STL | 个 | 15 | Z41Y-16C DN80
733 | 闸阀,DN32,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr/STL | 个 | 12 | Z41Y-16C DN32
734 | 截止阀,DN50,PN16,RF,BB, OS&Y,低泄漏性阀杆填料 | GB/T12235,阀体:CF8 阀芯:304/STL | 个 | 7 | J41Y-16P DN50
735 | 截止阀,DN65,PN16,RF,BB, OS&Y,低泄漏性阀杆填料 | GB/T12235,阀体:CF8 阀芯:304/STL | 个 | 9 | J41Y-16P DN65
736 | 截止阀,DN50,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr | 个 | 14 | J41H-16C DN50
737 | 截止阀,DN65,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr | 个 | 8 | J41H-16C DN65
738 | 截止阀,DN80,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr | 个 | 4 | J41H-16C DN80
739 | 截止阀,DN50,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr/STL | 个 | 9 | J41Y-16C DN50
740 | 截止阀,DN65,PN16,RF,BB, OS&Y,低泄漏性阀杆填料 | GB/T12235,阀体:WCB 阀芯:13Cr/STL | 个 | 64 | J41Y-16C DN65
741 | 截止阀,DN80,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr/STL | 个 | 17 | J41Y-16C DN80
742 | 截止阀,DN125,PN16,RF,BB, OS&Y,低泄漏性阀杆填料 | GB/T12235,阀体:WCB 阀芯:13Cr/STL | 个 | 24 | J41Y-16C DN125
743 | 截止阀,DN32,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr | 个 | 4 | J41H-16C DN32
744 | 截止阀,DN25,PN16,RF,BB, OS&Y,低泄漏性阀杆填料 | JB/T7746,阀体:A105 阀芯:13Cr/STL | 个 | 2 | J41Y-16C DN25
745 | 截止阀,DN32,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr/STL | 个 | 5 | J41Y-16C DN32
746 | 截止阀,DN25,PN16,RF,BB, OS&Y,低泄漏性阀杆填料 | JB/T7746,阀体:F304 阀芯:304/STL | 个 | 6 | J41Y-16P DN25
747 | 截止阀,DN32,PN16,RF,BB, OS&Y,低泄漏性阀杆填料 | JB/T7746,阀体:F304 阀芯:304/STL | 个 | 8 | J41Y-16P DN25
748 | 截止阀,DN40,PN16,RF,BB, OS&Y,低泄漏性阀杆填料 | JB/T7746,阀体:F304 阀芯:304/STL | 个 | 2 | J41Y-16P DN32
749 | 球阀,DN20,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 9 | Q41F-16P DN40
750 | 球阀,DN25,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 1 | Q41F-16P DN25
751 | 球阀,DN40,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 3 | Q41F-16P DN40
752 | 球阀,DN50,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 1 | Q41F-16P DN50
753 | 球阀,DN20,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 96 | Q41Y-16P DN20
754 | 球阀,DN25,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 175 | Q41Y-16P DN25
755 | 球阀,DN32,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 27 | Q41Y-16P DN32
756 | 球阀,DN40,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 12 | Q41Y-16P DN40
757 | 球阀,DN50,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 133 | Q41Y-16P DN50
758 | 球阀,DN65,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 83 | Q41Y-16P DN65
759 | 球阀,DN80,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 18 | Q41Y-16P DN80
760 | 球阀,DN100,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 8 | Q41Y-16P DN100
761 | 球阀,DN20,PN16,RF,Floating Ball | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 12 | Q41F-16C DN20
762 | 球阀,DN20,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 1 | Q41F-16C DN20
763 | 球阀,DN25,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 8 | Q41F-16C DN25
764 | 球阀,DN50,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:WCB 阀芯:304/STL | 个 | 3 | Q41Y-16C DN50
765 | 球阀,DN65,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:WCB 阀芯:304/STL | 个 | 12 | Q41Y-16C DN65
766 | 止回阀,DN50,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:CF8 阀芯:304/STL | 个 | 18 | H44Y-16P DN50
767 | 止回阀,DN65,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:CF8 阀芯:304/STL | 个 | 10 | H44Y-16P DN65
768 | 止回阀,DN50,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:WCB 阀芯:13Cr | 个 | 12 | H44H-16C DN50
769 | 止回阀,DN80,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:WCB 阀芯:13Cr | 个 | 13 | H44H-16C DN80
770 | 止回阀,DN25,PN16,RF,Lift,升降式止回阀应水平安装，阀盖朝上 | JB/T7746,阀体:A105 阀芯:13Cr | 个 | 1 | H41H-16C DN25
771 | 止回阀,DN32,PN16,RF,Lift,升降式止回阀应水平安装，阀盖朝上 | JB/T7746,阀体:A105 阀芯:13Cr | 个 | 4 | H41H-16C DN32
772 | 止回阀,DN20,PN16,RF,Lift,升降式止回阀应水平安装，阀盖朝上 | JB/T7746,阀体:F304 阀芯:304 | 个 | 9 | H41W-16P DN20
773 | 止回阀,DN25,PN16,RF,Lift,升降式止回阀应水平安装，阀盖朝上 | JB/T7746,阀体:F304 阀芯:304/STL | 个 | 5 | H41Y-16P DN25
774 | 止回阀,DN32,PN16,RF,Lift,升降式止回阀应水平安装，阀盖朝上 | JB/T7746,阀体:F304 阀芯:304/STL | 个 | 4 | H41Y-16P DN32
775 | 止回阀,DN40,PN16,RF,Lift,升降式止回阀应水平安装，阀盖朝上 | JB/T7746,阀体:F304 阀芯:304/STL | 个 | 4 | H41Y-16P DN40
776 | 蝶阀,DN200,PN16,RF,triple offset, Gear,低泄漏性阀杆填料 | GB/T12238,阀体:CF8 阀芯:304/STL | 个 | 2 | D343Y-16P DN200
777 | 蝶阀,DN250,PN16,RF,triple offset, Gear,低泄漏性阀杆填料 | GB/T12238,阀体:CF8 阀芯:304/STL | 个 | 7 | D343Y-16P DN250
778 | 蝶阀,DN150,PN16,RF,Wafer, Gear | GB/T12238,阀体:WCB 阀芯:13Cr/EPDM | 个 | 4 | D371X-16C DN150
779 | 蝶阀,DN300,PN16,RF,Wafer, Gear | GB/T12238,阀体:WCB 阀芯:13Cr/EPDM | 个 | 2 | D371X-16C DN300
849 | 截止阀,DN50,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr | 个 | 2 | J41H-16C DN50
850 | 截止阀,DN50,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr/STL | 个 | 10 | J41Y-16C DN50
851 | 截止阀,DN25,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr | 个 | 4 | J41H-16C DN25
852 | 截止阀,DN25,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr/STL | 个 | 16 | J41Y-16C DN25
853 | 截止阀,DN25,PN16,RF,BB, OS&Y | JB/T7746,阀体:F304 阀芯:304 | 个 | 3 | J41W-16P DN25
854 | 球阀加长阀杆,DN25,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 6 | Q41Y-16P DN100
855 | 球阀加长阀杆,DN100,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 6 | Q41Y-16P DN25
856 | 球阀,DN25,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 8 | Q41F-16C DN25
857 | 球阀加长阀杆,DN25,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 12 | Q41F-16C DN25
858 | 球阀,DN65,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 4 | Q41F-16C DN65
859 | 球阀,DN80,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 11 | Q41F-16C DN80
860 | 球阀加长阀杆,DN80,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 2 | Q41F-16C DN80
861 | 球阀,DN100,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 10 | Q41F-16C DN100
862 | 止回阀,DN100,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:CF8 阀芯:304/STL | 个 | 2 | H44Y-16P DN100
863 | 止回阀,DN80,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:WCB 阀芯:13Cr | 个 | 2 | H44H-16C DN80
1065 | 截止阀,DN50,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr/STL | 个 | 135 | J41Y-16C DN50
1066 | 截止阀,DN65,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr/STL | 个 | 1 | J41Y-16C DN65
1067 | 截止阀,DN80,PN16,RF,BB, OS&Y | GB/T12235,阀体:WCB 阀芯:13Cr/STL | 个 | 2 | J41Y-16C DN80
1068 | 截止阀,DN15,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr/STL | 个 | 24 | J41Y-16C DN15
1069 | 截止阀,DN25,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr/STL | 个 | 43 | J41Y-16C DN25
1070 | 截止阀,DN32,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr/STL | 个 | 1 | J41Y-16C DN32
1071 | 截止阀,DN40,PN16,RF,BB, OS&Y | JB/T7746,阀体:A105 阀芯:13Cr/STL | 个 | 2 | J41Y-16C DN40
1072 | 球阀加长阀杆,DN25,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:CF3M 阀芯:316L/PTFE | 个 | 5 | Q41F-16RL DN25
1073 | 球阀,DN80,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:CF3M 阀芯:316L/PTFE | 个 | 6 | Q41F-16RL DN80
1074 | 球阀加长阀杆,DN80,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:CF3M 阀芯:316L/PTFE | 个 | 6 | Q41F-16RL DN80
1075 | 球阀,DN100,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:CF3M 阀芯:316L/PTFE | 个 | 6 | Q41F-16RL DN100
1076 | 球阀加长阀杆,DN100,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:CF3M 阀芯:316L/PTFE | 个 | 1 | Q41F-16RL DN100
1077 | 球阀,DN20,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 13 | Q41F-16P DN20
1078 | 球阀,DN25,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 4 | Q41F-16P DN25
1079 | 球阀,DN32,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 1 | Q41F-16P DN32
1080 | 球阀,DN40,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 4 | Q41F-16P DN40
1081 | 球阀,DN50,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 6 | Q41F-16P DN50
1082 | 球阀,DN65,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 1 | Q41F-16P DN65
1083 | 球阀,DN80,PN16,RF,Floating Ball | GB/T12237,阀体:CF8 阀芯:304/PTFE | 个 | 3 | Q41F-16P DN80
1084 | 球阀,DN25,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 6 | Q41Y-16P DN25
1085 | 球阀加长阀杆,DN25,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 21 | Q41Y-16P DN25
1086 | 球阀加长阀杆,DN40,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 3 | Q41Y-16P DN40
1087 | 球阀,DN50,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 8 | Q41Y-16P DN50
1088 | 球阀加长阀杆,DN50,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 4 | Q41Y-16P DN50
1089 | 球阀加长阀杆,DN65,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 19 | Q41Y-16P DN65
1090 | 球阀,DN80,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 28 | Q41Y-16P DN80
1091 | 球阀,DN100,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 56 | Q41Y-16P DN100
1092 | 球阀加长阀杆,DN100,PN16,RF,Floating Ball,低泄漏性阀杆填料 | GB/T12237,阀体:CF8 阀芯:304/STL | 个 | 19 | Q41Y-16P DN100
1093 | 球阀加长阀杆,DN20,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 1 | Q41F-16C DN20
1094 | 球阀,DN25,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 2 | Q41F-16C DN25
1095 | 球阀加长阀杆,DN25,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 17 | Q41F-16C DN25
1096 | 球阀,DN32,PN16,RF,Floating Ball | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 1 | Q41F-16C DN32
1097 | 球阀,DN50,PN16,RF,Floating Ball | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 5 | Q41F-16C DN50
1098 | 球阀加长阀杆,DN50,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 1 | Q41F-16C DN50
1099 | 球阀加长阀杆,DN65,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 4 | Q41F-16C DN65
1100 | 球阀,DN80,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 9 | Q41F-16C DN80
1101 | 球阀,DN100,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 9 | Q41F-16C DN100
1102 | 球阀加长阀杆,DN100,PN16,RF,Floating Ball,低泄漏性阀杆填料，防火、防静电设计 | GB/T12237,阀体:WCB 阀芯:304/PTFE | 个 | 49 | Q41F-16C DN100
1103 | 球阀,DN25,PN16,RF,Floating Ball, Lined,低泄漏性阀杆填料 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:CS + PTFE | 个 | 5 | Q41F46-16C DN25
1104 | 球阀,DN50,PN16,RF,Floating Ball, Lined,低泄漏性阀杆填料 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:CS + PTFE | 个 | 7 | Q41F46-16C DN50
1105 | 球阀,DN50,PN10,BW,True Union Ball Valve（Butt Welding Type） | Manufacturer STD,阀体:PP 阀芯:PP | 个 | 1 | Q41S-10 DN50
1106 | 止回阀 |  |  | 3712
1107 | 止回阀,DN100,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:CF3M 阀芯:316L/STL | 个 | 1 | H44Y-16RL DN100
1108 | 止回阀,DN65,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:CF8 阀芯:304 | 个 | 1 | H44W-16P DN65
1109 | 止回阀,DN50,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:CF8 阀芯:304/STL | 个 | 2 | H44Y-16P DN50
1110 | 止回阀,DN65,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:CF8 阀芯:304/STL | 个 | 3 | H44Y-16P DN65
1111 | 止回阀,DN100,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:CF8 阀芯:304/STL | 个 | 2 | H44Y-16P DN100
1112 | 止回阀,DN100,PN16,RF,Swing,旋启式止回阀应水平安装，阀盖朝上，或垂直安装，流向向上 | GB/T12236,阀体:WCB 阀芯:13Cr | 个 | 12 | H44H-16C DN50
1113 | 止回阀,DN50,PN16,RF,Ball / Lift, Lined,球型升降式式止回阀应垂直安装，流向向上 | HG/T3704,阀体:WCB / PTFE Liner 阀芯:PTFE | 个 | 2 | HQ41F46-16C DN50
1114 | 止回阀,DN32,PN16,RF,Lift,升降式止回阀应水平安装，阀盖朝上 | JB/T7746,阀体:A105 阀芯:13Cr | 个 | 1 | H41H-16C DN32
1115 | 止回阀,DN20,PN16,RF,Lift,升降式止回阀应水平安装，阀盖朝上 | JB/T7746,阀体:F304 阀芯:304 | 个 | 9 | H41W-16P DN20
1116 | 止回阀,DN40,PN16,RF,Lift,升降式止回阀应水平安装，阀盖朝上 | JB/T7746,阀体:F304 阀芯:304 | 个 | 1 | H41W-16P DN40
125 | Y型过滤器,DN25,PN16,RF,Mesh Size XX | HG/T21637,阀体:WCB 阀芯:304 Screen | 个 | 16 | GL41H-16C DN25
506 | Y型过滤器,DN50,PN16,RF,Mesh Size XX | HG/T21637,阀体:CF8 阀芯:304 Screen | 个 | 4 | GL41W-16P DN50
507 | Y型过滤器,DN25,PN16,RF,Mesh Size XX | HG/T21637,阀体:WCB 阀芯:304 Screen | 个 | 4 | GL41H-16C DN25
508 | Y型过滤器,DN65,PN16,RF,Mesh Size XX | HG/T21637,阀体:WCB 阀芯:304 Screen | 个 | 6 | GL41H-16C DN65
509 | Y型过滤器,DN80,PN16,RF,Mesh Size XX | HG/T21637,阀体:WCB 阀芯:304 Screen | 个 | 2 | GL41H-16C DN80
780 | Y型过滤器,DN32,PN16,RF,Mesh Size XX | HG/T21637,阀体:CF8 阀芯:304 Screen | 个 | 1 | GL41W-16P DN32
781 | Y型过滤器,DN40,PN16,RF,Mesh Size XX | HG/T21637,阀体:CF8 阀芯:304 Screen | 个 | 2 | GL41W-16P DN40
782 | Y型过滤器,DN50,PN16,RF,Mesh Size XX | HG/T21637,阀体:CF8 阀芯:304 Screen | 个 | 16 | GL41W-16P DN50
783 | Y型过滤器,DN65,PN16,RF,Mesh Size XX | HG/T21637,阀体:CF8 阀芯:304 Screen | 个 | 12 | GL41W-16P DN65
784 | Y型过滤器,DN80,PN16,RF,Mesh Size XX | HG/T21637,阀体:CF8 阀芯:304 Screen | 个 | 8 | GL41W-16P DN80
864 | Y型过滤器,DN100,PN16,RF,Mesh Size XX | HG/T21637,阀体:CF8 阀芯:304 Screen | 个 | 2 | GL41W-16P DN100
865 | Y型过滤器,DN80,PN16,RF,Mesh Size XX | HG/T21637,阀体:WCB 阀芯:304 Screen | 个 | 2 | GL41H-16C DN80
1117 | Y型过滤器,DN50,PN16,RF,Mesh Size XX | HG/T21637,阀体:CF8 阀芯:304 Screen | 个 | 3 | GL41W-16P DN50
1118 | Y型过滤器,DN100,PN16,RF,Mesh Size XX | HG/T21637,阀体:CF8 阀芯:304 Screen | 个 | 1 | GL41W-16P DN100
1119 | Y型过滤器,DN40,PN16,RF,Mesh Size XX | HG/T21637,阀体:WCB 阀芯:304 Screen | 个 | 1 | GL41H-16C DN40
1120 | Y型过滤器,DN50,PN16,RF,Mesh Size XX | HG/T21637,阀体:WCB 阀芯:304 Screen | 个 | 24 | GL41H-16C DN50
1121 | Y型过滤器,DN100,PN16,RF,Mesh Size XX | HG/T21637,阀体:WCB 阀芯:304 Screen | 个 | 1 | GL41H-16C DN100

## 各个型号数量
球阀 | Q41F-16C | Q41F-16RL | Q41F-16P | Q41F46-16C | Q41Y-16C | Q41S-10 | Q41Y-16P
DN20 | 182 | 2 | 91 | 15 | 40 |  | 144
DN25 | 203 | 6 | 29 | 112 |  |  | 33
DN32 | 57 |  | 1 |  |  |  | 33
DN40 | 2 | [5 empty] | 15
DN50 | 109 |  | 14 | 129 | 17 | 1 | 189
DN65 | 86 |  | 3 | 37 | 46 |  | 152
DN80 | 78 | 16 | 4 | 27 | 28 |  | 58
DN100 | 81 | 7 | 1 | 65 | 10 |  | 130
DN125
DN150
DN200
DN250
DN300
备注：软密封球阀均采用防火防静电结构，球阀均为实心球，球阀标准：GB/T12237-2007，结构长度：JB/1686，法兰标准和等级：HG/T20592-2009 PN16 RF,壁厚达标件
截止阀 | J41Y-16C | J41H-16C | J41W-16P | J41Y-16C | J41Y-16P
DN15 |  |  |  | 24
DN20 | 64 |  |  | 64
DN25 | 137 | 34 | 3 | 137 | 14
DN32 | 93 | 14 |  | 93 | 2
DN40 | 8 |  |  | 8
DN50 | 248 | 50 | 1 | 248 | 7
DN65 | 65 |  |  | 65 | 11
DN80 | 31 |  |  | 31
DN100
DN125 |  | 4 |  | 24
DN150 |  | 4 |  | 2
DN200
DN250
DN300
备注：GB/T12235-2007,法兰标准和等级：HG/T20592-2009 PN16 RF
闸阀 | Z41Y-16C | Z41Y-16P
DN15
DN20 | 56
DN25 | 1
DN32 | 13
DN40
DN50 | 37
DN65 | 8
DN80 | 15
DN100
DN125
DN150 | 18 | 18
DN200 | 1
DN250
DN300
备注:GB/T12234-2007,法兰标准和等级：HG/T20592-2009 PN16 RF
止回阀 | H76H-16C | H44Y-16RL | H44W-16P | H44H-16C | H44F46-16C | HQ41F46-16C | H41H-16C | H41Y-16P | H76Y-16C | H44Y-16P | H44H-16C | H41H-16C | H41W-16P | H41Y-16P | H44Y-16P | H44W-16P
DN15
DN20 | [7 empty] | 2 |  |  |  |  | 18 | 2
DN25 | [5 empty] | 6 | 17 | 7 |  |  |  | 17 |  | 7
DN32 | [6 empty] | 15 | 6 |  |  |  | 15 |  | 6
DN40 | [6 empty] | 2 | 4 |  |  |  | 2 | 1 | 4
DN50 |  |  | 2 | 34 |  | 21 |  |  |  | 24 | 34 |  |  |  | 24 | 2
DN65 |  |  | 1 | 22 |  | 9 |  |  |  | 15 | 22 |  |  |  | 15 | 1
DN80 |  | 1 |  | 24 | [6 empty] | 24 |  |  |  | 15
DN100 |  | 1 |  |  |  | 6 |  |  |  | 4
DN125 |  |  |  |  | 8 | [9 empty] | 4
DN150
DN200
DN250 | [8 empty] | 4
DN300
DN350 | 5
备注:GB/T12235-2007,法兰标准和等级：HG/T20592-2009 PN16 RF
蝶阀 | D371X-16C | D343Y-16P | D341F-16C | D343Y-16C
DN15
DN20
DN25
DN32
DN40
DN50
DN65
DN80
DN100
DN125
DN150 | 12 |  |  | 2
DN200 |  | 10 |  | 2
DN250 |  | 7 | 8
DN300 | 2 | 4 | 4 | 2
DN350 | 10
备注：GB/T12238-2008,法兰标准和等级：HG/T20592-2009 PN16 RF
Y型过滤器 | GL41H-16C | GL41W-16P
DN15
DN20
DN25 | 20
DN32 |  | 1
DN40 | 1 | 2
DN50 | 24 | 23
DN65 | 6 | 12
DN80 | 4
DN100 | 1 | 3
DN125
DN150
DN200
DN250
DN300
DN350
备注: HG/T 21637-2021 ,法兰标准和等级：HG/T20592-2009 PN16 RF

## Sheet2
序号 | 类别 | 型号 | 口径 | 数量
1 | 球阀 (软密封球阀均采用防火防静电结构，球阀均为实心球，球阀标准：GB/T12237-2007，结构长度：JB/1686，法兰标准和等级：HG/T20592-2009 PN16 RF,壁厚达标件) | Q41F-16C | DN20 | 182
2 |  |  | DN25 | 203
3 |  |  | DN32 | 57
4 |  |  | DN40 | 2
5 |  |  | DN50 | 109
6 |  |  | DN65 | 86
7 |  |  | DN80 | 78
8 |  |  | DN100 | 81
9 |  | Q41F-16RL | DN20 | 2
10 |  |  | DN25 | 6
11 |  |  | DN80 | 16
12 |  |  | DN100 | 7
13 |  | Q41F-16P | DN20 | 91
14 |  |  | DN25 | 29
15 |  |  | DN32 | 1
16 |  |  | DN50 | 14
17 |  |  | DN65 | 3
18 |  |  | DN80 | 4
19 |  |  | DN100 | 1
20 |  | Q41F46-16C | DN20 | 15
21 |  |  | DN25 | 112
22 |  |  | DN50 | 129
23 |  |  | DN65 | 37
24 |  |  | DN80 | 27
25 |  |  | DN100 | 65
26 |  | Q41Y-16C | DN20 | 40
27 |  |  | DN50 | 17
28 |  |  | DN65 | 46
29 |  |  | DN80 | 28
30 |  |  | DN100 | 10
31 |  | Q41S-10 | DN50 | 1
32 |  | Q41Y-16P | DN20 | 144
33 |  |  | DN25 | 33
34 |  |  | DN32 | 33
35 |  |  | DN40 | 15
36 |  |  | DN50 | 189
37 |  |  | DN65 | 152
38 |  |  | DN80 | 58
39 |  |  | DN100 | 130
40 | 截止阀 (GB/T12235-2007,法兰标准和等级：HG/T20592-2009 PN16 RF) | J41Y-16C | DN20 | 64
41 |  |  | DN25 | 137
42 |  |  | DN32 | 93
43 |  |  | DN40 | 8
44 |  |  | DN50 | 248
45 |  |  | DN65 | 65
46 |  |  | DN80 | 31
47 |  | J41H-16C | DN25 | 34
48 |  |  | DN32 | 14
49 |  |  | DN50 | 50
50 |  |  | DN125 | 4
51 |  |  | DN150 | 4
52 |  | J41W-16P | DN25 | 3
53 |  |  | DN50 | 1
54 |  | J41Y-16C | DN15 | 24
55 |  |  | DN20 | 64
56 |  |  | DN25 | 137
57 |  |  | DN32 | 93
58 |  |  | DN40 | 8
59 |  |  | DN50 | 248
60 |  |  | DN65 | 65
61 |  |  | DN80 | 31
62 |  |  | DN125 | 24
63 |  |  | DN150 | 2
64 |  | J41Y-16P | DN25 | 14
65 |  |  | DN32 | 2
66 |  |  | DN50 | 7
67 |  |  | DN65 | 11
68 | 闸阀 (GB/T12234-2007,法兰标准和等级：HG/T20592-2009 PN16 RF) | Z41Y-16C | DN20 | 56
69 |  |  | DN25 | 1
70 |  |  | DN32 | 13
71 |  |  | DN50 | 37
72 |  |  | DN65 | 8
73 |  |  | DN80 | 15
74 |  |  | DN150 | 18
75 |  |  | DN200 | 1
76 |  | Z41Y-16P | DN150 | 18
77 | 止回阀 (GB/T12235-2007,法兰标准和等级：HG/T20592-2009 PN16 RF) | H76H-16C | DN350 | 5
78 |  | H44Y-16RL | DN80 | 1
79 |  |  | DN100 | 1
80 |  | H44W-16P | DN50 | 2
81 |  |  | DN65 | 1
82 |  | H44H-16C | DN50 | 34
83 |  |  | DN65 | 22
84 |  |  | DN80 | 24
85 |  | H44F46-16C | DN125 | 8
86 |  | HQ41F46-16C | DN25 | 6
87 |  |  | DN50 | 21
88 |  |  | DN65 | 9
89 |  |  | DN100 | 6
90 |  | H41H-16C | DN25 | 17
91 |  |  | DN32 | 15
92 |  |  | DN40 | 2
93 |  | H41Y-16P | DN20 | 2
94 |  |  | DN25 | 7
95 |  |  | DN32 | 6
96 |  |  | DN40 | 4
97 |  | H76Y-16C | DN250 | 4
98 |  | H44Y-16P | DN50 | 24
99 |  |  | DN65 | 15
100 |  |  | DN100 | 4
101 |  | H44H-16C | DN50 | 34
102 |  |  | DN65 | 22
103 |  |  | DN80 | 24
104 |  | H41H-16C | DN25 | 17
105 |  |  | DN32 | 15
106 |  |  | DN40 | 2
107 |  | H41W-16P | DN20 | 18
108 |  |  | DN40 | 1
109 |  | H41Y-16P | DN20 | 2
110 |  |  | DN25 | 7
111 |  |  | DN32 | 6
112 |  |  | DN40 | 4
113 |  | H44Y-16P | DN50 | 24
114 |  |  | DN65 | 15
115 |  |  | DN80 | 15
116 |  | H44W-16P | DN50 | 2
117 |  |  | DN65 | 1
118 | 蝶阀 (GB/T12238-2008,法兰标准和等级：HG/T20592-2009 PN16 RF) | D371X-16C | DN150 | 12
119 |  |  | DN300 | 2
120 |  |  | DN350 | 10
121 |  | D343Y-16P | DN200 | 10
122 |  |  | DN250 | 7
123 |  |  | DN300 | 4
124 |  | D341F-16C | DN250 | 8
125 |  |  | DN300 | 4
126 |  | D343Y-16C | DN150 | 2
127 |  |  | DN200 | 2
128 |  |  | DN300 | 2
129 | Y型过滤器 (HG/T 21637-2021 ,法兰标准和等级：HG/T20592-2009 PN16 RF) | GL41H-16C | DN25 | 20
130 |  |  | DN40 | 1
131 |  |  | DN50 | 24
132 |  |  | DN65 | 6
133 |  |  | DN80 | 4
134 |  |  | DN100 | 1
135 |  | GL41W-16P | DN32 | 1
136 |  |  | DN40 | 2
137 |  |  | DN50 | 23
138 |  |  | DN65 | 12
139 |  |  | DN100 | 3